## Slide 1: Home automation and security system demonstrator
By Miguel Mastache
6/23/2022

## Slide 2: Introduction
This project is a demonstration of a simple yet effective home security and automation system, using an Arduino microcontroller. This system uses sensors that are readily available. The hardware is controlled by the Arduino microcontroller. It also allows for easy programming, and simulation using the Tinkercad software and Arduino developer kit.

## Slide 3: Challenges
This project was not difficult, but there were some challenges and lessons learned. The original Arduino purchased failed shortly after the second module. Two days were spent ensuring wiring the wiring was correct, and researching possible causes, such as incorrect usb drivers. Ultimately, a replacement board was purchased to test out if it was a failed board. The reason for the failure was never identified. Somethings that could have been done to ensure no failure. Make a note that you only need the usb cable for power, and programming, the external power supply is not necessary. Additionally, put electricians' tape on the bottom of the Arduino board, covering the pins, so that you can’t short out the board by accident.
Additionally, realizing that each project builds upon the same circuit, would have saved time in wiring during the first 3 modules.

## Slide 4: Career Skills
The career skills practiced while developing this Security System are as follows:
Documentation of components, simulation results, and operation of circuit.
Basic programming using Tinkercad, and C++ for Arduino kit.
Time management, to ensure project completes on time.
Ability to follow pinout and wiring of schematic diagram and instructions.
Troubleshooting skills including web search of possible technical issues, verification of wiring, and using previous project stages as test cases to ensure the project is working as expected.

## Slide 5: Conclusion
This project demonstrates the feasibility of using an Arduino board to develop a working home automation and security system, and the ease with which this can be done.
Possible improvements could involve using LED displays to show the serial monitor output, as well as using the ESP232 modules to connect wirelessly to a a smartphone for modification of settings.
Future projects can build upon this one, to develop possible supervisory control and data acquisition applications. (SCADA)

## Slide 6: Tinkercad simulation
By Miguel Mastache
6/23/2022

## Slide 7: Circuit (Tinkercad Schematic)

## Slide 8: Code Basic code using graphical programming available in Tinkercad suite.

## Slide 9: Parts Inventory

## Slide 10: Inventory of IoT Kit
UCTRONICS Kit
ESP32 (2)
LCD Modules (2)
Breadboards (3)
Mini Router
Patch Cable
Digital Multi Meter
USB to Micro USB (2)
USB 2 MICRO USB
ESP32
LCD Modules
Mini Router
Patch Cable
UCTRONICS Kit

## Slide 11: Organization of Project Components
Arduino Mega 2560
Breadboard
Resistor 10kΩ
LEDs
Ultrasonic Sensor
Active Buzzer
Photoresistor
Wires
USB Type B cable
Water Sensor
Humidity Sensor
Arduino
Breadboard
Wires
10k Ohm Resistors
LED’s
Photo Resistors
Photo Resistors
Ultrasonic Sensor
Active Buzzer
Water
Sensor
USB Cable

## Slide 12: Circuit with red LED on

## Slide 13: Serial Monitor Showing printed output communicated over serial communications with Arduino.

## Slide 14: Door contact sensor

## Slide 15: Circuit of door closed with Green LED ON

## Slide 16: Circuit of door open with Green LED OFF

## Slide 17: Arduino Code

## Slide 18: Serial Monitor Demonstrating text alert indicating the door is open.

## Slide 19: Adding Distance Sensor to Smart Home System and Conducting Data Analysis

## Slide 20: Circuit with green LED on

## Slide 21: Circuit with yellow LED on.

## Slide 22: Circuit with red LED on

## Slide 23: Arduino Code

## Slide 24: Plot of data
Chart: 

## Slide 25: Adding Automated Light to Smart Home System

## Slide 26: Circuit with automated LED off

## Slide 27: Circuit with automated LED on

## Slide 28: Arduino Code

## Slide 29: Serial Monitor indicating automated light is on.

## Slide 30: Adding Water Sensor and Indicator LED

## Slide 31: Circuit with Water Sensor and LED off

## Slide 32: Circuit with water detected LED on

## Slide 33: Arduino Code

## Slide 34: Serial Monitor Indicating Water is detected.

## Slide 35: Adding Humidity Sensor

## Slide 36: Circuit with Humidity Sensor in off state

## Slide 37: Circuit with Humidity Sensor operating.

## Slide 38: Arduino Code

## Slide 39: Serial Monitor indicating humidity levels.

## Slide 40: Adding Water Sensor , Indicator LED, and Humidity Sensor

## Slide 41: Circuit with Water Sensor Indicator LED off and Humidity Sensor

## Slide 42: Circuit with sensor suit in on state

## Slide 43: Arduino Code

## Slide 44: Serial Monitor indicating all sensors operational